# BINEGAR PARISH COUNCIL

# Playground Report - March 2026

Inspection Results:

The prolonged wet weather has clearly taken its toll.  Hopefully some of the issues will disappear when it dries out but others will require remedial action.

Drier weather will allow Rick to undertake the repairs to the rear fence.

We will need to undertake the annual spring clear before the school Easter holidays.

### Table 1: RoSPA inspection 2025 recommendations

| Recommendation | Response |
| --- | --- |
| Signage - ownership |  |
| - Minor repairs needed | Replace as necessary |
| Multiplay – Large: |  |
| In the inspector's opinion the protective surface may not meet the head injury criteria requirements from the height required. |  |
| Swing – Basket: |  |
| Some surface separation/shrinkage | Repair |
| Carousel: |  |
| Shrinkage / separation of the surface. This may give a trip hazard. | We need to find a way of getting these edges repaired. |
| Multiplay – Toddler: |  |
| - Laminate damaged. | Rub down ragged edges |
| Play Train: |  |
| Timber decayed | Replace affected parts |
| Rocker – Seesaw: |  |
| - Edges not radiused or chamfered to 3mm |  |
| Slide – Traditional: |  |
| - Item has corrosion | Treat & repair |

Routine inspections

### Table 2: Weekly routine inspection observations

| Playground access - from Hall Car Park |  |
| --- | --- |
| Are all signs present and secure? | No Dog' sign missing from carpark gate |
| Is path clear with no trip hazards? | Muddy puddle developing by gate |
| Perimeter |  |
| Are fences complete and securely fixed? | Rear fence requires attention |
| General play area |  |
| Are litter bins secure and undamaged? | Shelter bin wood needs replacing |
| Goalpost |  |
| Is grass surface free from undue wear and weeds? | Fence behind now failed |
| Zingo's x 3 |  |
| Do they move freely and noiselessly? | Monitor noisy bearing |
| Shelter |  |
| Is timber work in good condition and undamaged? | Rotting and very slippery |
| Play train |  |
| Is timber work in good condition and undamaged? | Needs woodwork |
| Is preservative in good condition? | Needs paint |
| Swings - junior |  |
| Are structural posts and fixings present and secure? | Hangars need tightening. Need a ladder! |
| Are posts free from decay at ground level? | Cracks in plastic seat - monitor |
| Swings - toddler |  |
| Are the swing chains unbroken? | Monitor worn links in suspension chain |
| Swing - nest |  |
| Is the safer surface undamaged? | Surface needs repair under seat |
| Slide |  |
| Monitor - Is the corrosion at top getting worse? |  |
| Is the mound free from wear? | Holes need filling and reseeding |
| Bottom support broken. | Need shoring up |
| Wall |  |
| Is wall in good condition and undamaged? | Needs cleaning or painting again |

Inspection rota

We undertake inspections weekly in summer (April-September) and fortnightly in winter.

| March | April | May | June |
| --- | --- | --- | --- |
| 02 - Cath Law | 06 - Jon Abbott | 04 - Nikki Hutchison |  |
| 16 - John Bridges | 13 - John Scadding |  |  |
| 30 - Nikki Hutchison | 20 - Cath Law |  |  |
|  | 27 - John Bridges |  |  |

Jon Abbott

3 Mar 26